## Introduction and authorship
HBIM Maturity Model by L.J.Lovell, R.J.Davies and D.V.L.Hunt of The University of Birmingham (UK).
The Historic Building Information Modelling (HBIM) Maturity model has been developed by Lucy Lovell, Dr Richard Davies, and Dr Dexter Hunt as part of an Engineering and Physical Sciences Research Council (EPSRC) funded PhD ( grant number EP/W524396/1) at the School of Engineering, University of Birmingham, Edgebaston, UK. The model is freely available to use provided the original paper is cited. All queries about the model should be directed to lucyjlovell@sky.com or r.j.davies.1@bham.ac.uk. The model may be subject to further development in the future. The HBIM Maturity model is a level based rating system with two main uses: informing the design of new HBIM systems, and the evaluation of existing HBIM systems against their ability to meet end user needs. There are four achieveable levels of maturity determined by a series of prerequisites and credit requirements. This document has the following format:
1. Systems Requirements- This sheet details proposed system requirements for a HBIM system. The requirements outline what a HBIM system should do. It does not outline how a requirement should be achieved. The sheet also details the number of credits received if a requirement is completely achieved.
2. Levels of maturity- This sheet describes each level and outlines the prerequisites and credit requirements for each level.
3. Assessment tool- This sheet allows users of the maturity model to add evidence for how they have/will achieve a requirement and log achieved requirements. The assessment tool will return the maturity level of the HBIM system and detail why other levels may not have been achieved.
A. Example information types- This sheet includes example information types that a user may wish to include in their HBIM system. It is for guidance only.
The system requirements and information types were developed via consultation with the heritage community, details of which are included in previous works by the authors (https://doi.org/10.3390/heritage8030093, https://doi.org/10.3390/heritage8010021, https://doi.org/10.3390/app152011159).
Version 1. 2026

## 1. System requirements
|  |  | Credits available | Total credits
Information Management | I1 | HBIM system needs to contain a comprehensive and accurate record of asset information (regardless of form). Note- The types of information may be asset/organisation specific. | 3.5 | 31.5
| I2 | HBIM system needs to allow new information to be added over time whilst retaining previous information. | 4
| I3 | HBIM system needs to have a search function for finding information. | 4
| I4 | HBIM system needs to have a structured, reportable and viewable data storage schema. | 4
| I5 | The HBIM system will allow information (irrespective of format) to be viewed or exported at different degrees of granularity. | 3
| I6 | HBIM system needs to allow all information to be accessed from a single source.(i.e. a single platform / software / database / / hardware / etc). Information may be stored elsewhere. | 3
| I7 | Information in the HBIM system should be associated with a digital entity with a known position in space. | 3
| I8 | HBIM system needs to record and report each change made to asset information. | 3.5
| I9 | The HBIM system will contain comprehensive and accurate metadata regarding asset information. Note- The types of metadata may be asset/organisation specific. | 3.5
Collaboration | C1 | HBIM system needs to present current planning / legislative / listing restraints in a manner clearly understandable to users without expert knowledge. | 3 | 17.5
| C2 | HBIM system needs to be able to share and receive information for related assets (both internally within an organisation or externally). | 3
| C3 | HBIM system needs to be able to present the same information in differing ways for a defined audience. | 2.5
| C4 | The HBIM data will be shareable with interested parties with specified access controls and monitoring processes. Example monitoring processes may include version control or download tracking. | 3.5
| C5 | HBIM system needs to be aligned with existing BIM practices for non-heritage assets | 2.5
| C6 | HBIM system needs to integrate with other systems without duplicating information. | 3
System Operability | S1 | HBIM system needs to be accessible from multiple locations at the same time. | 3 | 7
| S2 | HBIM information needs to be accessible to users without an internet connection. | 2
| S3 | Users without an internet connection need to be able to record new information to be input to the HBIM system. | 2
Resource management and planning | R1 | HBIM system needs to indicate whether an area is private or open to public and any restraints this poses e.g. maintenance timing or increased level of risk for public. | 2.5 | 19
| R2 | The HBIM system will collate and supply information required for funding applications | 2.5
| R3 | HBIM system needs to collate and supply information required to undertake defined activities. | 3
| R4 | HBIM system needs to be able to be used to digitally simulate planned activities. | 2.5
| R5 | HBIM system needs to calculate expected costs of user defined work. | 2.5
| R6 | HBIM system needs to record and report all details of each work activity undertaken and each future work activity planned. | 3
| R7 | HBIM system needs to assist with the creation of proactive maintenance schedules utilising both mandatory testing intervals, previous maintenance records and current asset condition. | 3
Visualisation | V1 | HBIM system needs to record, and visually display information associated with the location of the asset. | 3.5 | 13
| V2 | HBIM system needs to record and visually display each known or theorised (appropriately indicated) historic change to an asset (both large changes and small changes). | 3
| V3 | HBIM system needs to provide a 3D visualisation of an asset. | 3
| V4 | HBIM system needs to contain an accurate visual record of the current asset condition. | 3.5
Public engagement | P1 | HBIM system needs to assist with the creation, and dissemination of, audience appropriate informative materials and educational resources for the public. | 2.5 | 2.5
Environmental and performance management | E1 | HBIM system needs to record and visually display environmental hazards associated with the asset. | 3 | 9.5
| E2 | HBIM system needs to monitor and report the right-time data regarding the environmental conditions of the asset. Environmental condition derived from information such as temperature, light, humidity and weather sensors etc. | 2
| E3 | HBIM system needs to monitor and report right-time data regarding the performance of the asset. Performance will be evaluated against organisational specific targets. | 2
| E4 | HBIM system needs to allow the comparison of current performance with predicted outputs of alterations and upgrades. | 2.5
|  | Total credits available= | 100

## 2. Levels of maturity
Level | Minimum requirements | Credit requirements | Description of level
Level 1 | Must achieve requirements I2 and I4. Must demonstrate progress towards achieving requirement I11. | Minimum of 20 Credits. | A sustainable, long-term information storage solution for an organisation. Information will be retrievable and retained by the system owner throughout the asset lifecycle.
Level 2 | Must achieve requirements I2, I4, C4 and either V1 or V4. Must demonstrate progress towards achieving requirement I11. | Minimum of 30 Credits. | Level 1 plus: Some information will be available in a visual format and collaboration with members of the Heritage Community beyond the system owner will be possible.
Level 3 | Must achieve requirements I1, I2, I3, I4, I7, C4 and either V1 or V4. | Minimum of 40 Credits. | Level 2 plus: The system makes information easy to locate by linking the information with a digital object and by having providing a mechanism for searching information.
Level 3* | Must achieve requirements I1, I2, I3, I4, I7, I8, I9, C4 and either V1 or V4. | Minimum of 50 Credits. | Level 3 plus: The information within the system is traceable and verifiable.
1Supporting evidence would consist of:
1. An organisation specific list of information requirements;
2. An actionable plan of the actor/s responsible for the procurement and maintenance of a specific information requirement;
3. A defined plan for how each information type will be stored within the system;
4. A proposal for how often a specific information type will need to be updated/reviewed and the actor/s responsible for this;
5. Evidence of 1-4 being implemented e.g. one information type has been collected and stored in the system.

## 3. Assessment tool
|  | Level and credits achieved = Level 0, 0 credits | Credits available | Evidence | Achieved (y/n/d) y=Yes n=No d=Demonstrable progress (for I1 only) |  | Level 1 | Level 2 | Level 3 | Level 3*
Information Management | I1 | HBIM system needs to contain a comprehensive and accurate record of asset information (regardless of form). Note- The types of metadata may be asset/organisation specific. | 3.5 |  | n | Minimum requirements | ✗ | ✗ | ✗ | ✗
| I2 | HBIM system needs to allow new information to be added over time whilst retaining previous information. | 4 |  | n | Credit requirements | ✗ | ✗ | ✗ | ✗
| I3 | HBIM system needs to have a search function for finding information. | 4 |  | n |  | Credits = | 0
| I4 | HBIM system needs to have a structured, reportable and viewable data storage schema. | 4 |  | n |  | Level = | Level 0
| I5 | The HBIM system will allow information (irrespective of format) to be viewed or exported at different degrees of granularity. | 3 |  | n
| I6 | HBIM system needs to allow all information to be accessed from a single source.(i.e. a single platform / software / database / / hardware / etc). Information may be stored elsewhere. | 3 |  | n
| I7 | Information in the HBIM system should be associated with a digital entity with a known position in space. | 3 |  | n
| I8 | HBIM system needs to record and report each change made to asset information. | 3.5 |  | n
| I9 | The HBIM system will contain comprehensive and accurate metadata regarding asset information. Note- The types of metadata may be asset/organisation specific. | 3.5 |  | n
Collaboration | C1 | HBIM system needs to present current planning / legislative / listing restraints in a manner clearly understandable to users without expert knowledge. | 3 |  | n
| C2 | HBIM system needs to be able to share and receive information for related assets (both internally within an organisation or externally). | 3 |  | n
| C3 | HBIM system needs to be able to present the same information in differing ways for a defined audience. | 2.5 |  | n
| C4 | The HBIM data will be shareable with interested parties with specified access controls and monitoring processes. Example monitoring processes may include version control or download tracking. | 3.5 |  | n
| C5 | HBIM system needs to be aligned with existing BIM practices for non-heritage assets. | 2.5 |  | n
| C6 | HBIM system needs to integrate with other systems without duplicating information. | 3 |  | n
System Operability | S1 | HBIM system needs to be accessible from multiple locations at the same time. | 3 |  | n
| S2 | HBIM information needs to be accessible to users without an internet connection. | 2 |  | n
| S3 | Users without an internet connection need to be able to record new information to be input to the HBIM system. | 2 |  | n
Resource management and planning | R1 | HBIM system needs to indicate whether an area is private or open to public and any restraints this poses e.g. maintenance timing or increased level of risk for public. | 2.5 |  | n
| R2 | The HBIM system will collate and supply information required for funding applications. | 2.5 |  | n
| R3 | HBIM system needs to collate and supply information required to undertake defined activities. | 3 |  | n
| R4 | HBIM system needs to be able to be used to digitally simulate planned activities. | 2.5 |  | n
| R5 | HBIM system needs to calculate expected costs of user defined work. | 2.5 |  | n
| R6 | HBIM system needs to record and report all details of each work activity undertaken and each future work activity planned. | 3 |  | n
| R7 | HBIM system needs to assist with the creation of proactive maintenance schedules utilising both mandatory testing intervals, previous maintenance records and current asset condition. | 3 |  | n
Visualisation | V1 | HBIM system needs to record, and visually display information associated with the location of the asset. | 3.5 |  | n
| V2 | HBIM system needs to record and visually display each known or theorised (appropriately indicated) historic change to an asset (both large changes and small changes). | 3 |  | n
| V3 | HBIM system needs to provide a 3D visualisation of an asset. | 3 |  | n
| V4 | HBIM system needs to contain an accurate visual record of the current asset condition. | 3.5 |  | n
Public engagement | P1 | HBIM system needs to assist with the creation, and dissemination of, audience appropriate informative materials and educational resources for the public. | 2.5 |  | n
Environmental and performance management | E1 | HBIM system needs to record and visually display environmental hazards associated with the asset. | 3 |  | n
| E2 | HBIM system needs to monitor and report the right-time data regarding the environmental conditions of the asset. Environmental condition derived from information such as temperature, light, humidity and weather sensors etc. | 2 |  | n
| E3 | HBIM system needs to monitor and report right-time data regarding the performance of the asset. Performance will be evaluated against organisational specific targets. | 2 |  | n
| E4 | HBIM system needs to allow the comparison of current performance with predicted outputs of alterations and upgrades. | 2.5 |  | n
|  |  |  | Credits achieved = | 0

## A. Example information types
Information Category | Information Requirement
Geometric surveys — This is defined as the geometric information gathered with which to create the model. These data will typically be provided by techniques such as photogrammetry or laser scanning. These techniques produce point clouds, which are collections of thousands of points that provide a 3D representation of an area. | The geometric survey itself
Details about the geometric survey, e.g., how and by whom it was carried out
Information (data) about the fabric of the asset—This is defined as the physical material/structure that makes up the asset. | Material data, e.g., what materials are used
Architectural data, e.g., floor plans
Current building fabric status data
Whether any materials require additional protection during any building works
Current sources of materials
Presence of hazardous material, e.g., asbestos
Historically correct building processes
Risks to the material, e.g., elements increasing degradation, existing defects, or materials reaching end of life
Condition assessments—This is defined as inspections of the physical condition of an asset which could include, but is not limited to, assessments of decay, structural reports, or energy performance. | The raw data from the assessment
The results and recommendations of the assessments
Details about the assessments, e.g., how and by whom they were carried out
Legal requirements—This is defined as any requirement that may affect your ability to carry out certain work. This may include a planning regulation (e.g., Grade Listing, etc.) or statutory document (e.g., other requirements such as conditions of bequest). | Planning regulations
Statutory documents affecting the asset
Risk appointment
Historical information—This is defined as archaeological data (including data about lost heritage) and major changes to an asset (not regular conservation works) over time. It is not referring to historical significance. | Archaeological evidence
Changes that have occurred over time
Environment data—This is defined as more detailed data about the specific environment (or space) of an asset which may affect its condition or performance. This may be at a large scale (e.g., whole building) or smaller scale (e.g., light levels in a specific room affect a specific object). | Light levels (internal and external)
Vibration levels
Weather
Dust levels
Humidity
CO2
Footfall
Temperature
Safety and security information—This is defined as any information related to the safety and security of the asset. This could include fire evacuation drawings, locations of fire alarms, and accessibility information such as wheelchair-accessible routes. | Fire safety
H&S
Potential threats/risks and vulnerabilities
Security
Accessibility information
Space data—This is defined as information about how the physical space of an asset is broken down and used. This may include, but is not limited to, room allocations (space breakdown), which areas are open to the public/private (space usage), occupancy limits, average footfall (visitor information), etc. | Space usage
Space breakdown
Visitor information
Maintenance manuals/instructions—This is defined as information provided or required to help plan and/or carry out maintenance and conservation works on an object. | Required equipment
Required materials
Minimum level of performance
Whether the maintenance can be performed by a normal user or requires skilled personnel
Intervention type (work required)
Intervention frequency
Previous maintenance including conservation history
Cost of work
Historical significance—This is defined as the tangible or intangible significance which attributes to the importance of the asset, e.g., how it evidences a way of life/practice, architectural or structural importance, associations with notable figures, etc. | For education
To inform management decisions
Location data—This is defined as information about the wider location surrounding the asset. This may or may not be owned by you. For example, a local river may be prone to flooding and a risk to your asset. Alternatively, it may be information about the grounds surrounding the asset itself, e.g., the boundaries of the land. | Setting of the asset (e.g., in grounds)
Nearby physical hazards
Related assets nearby
Other generic locational information
Objects not part of the building’s fabric—This is defined as important objects not necessarily considered part of the building which could be artistic (e.g., tapestries, artwork, sculptures, etc.) or other moveable assets (e.g., old factory machinery, furniture with a specific significance, etc.). | Moveable objects
Artistic objects
Asset register
Visual depictions—This is defined as images, drawings or surveys which provide a visual representation of all or part of an asset. | The visual depiction itself
Details about the visual depiction, e.g., how and by whom a survey was carried out, the source of an image or drawing, etc.
Management plans/policies—This is defined as documents recording or dictating the strategic management objectives of an asset. | Management data and records
Conservation policies
Conservation management plans
Project files for proposed and/or previous capital works—This is defined as information created or required as part of the conception and design stages of a capital project (assumed to correspond with suggested information exchanges for RIBA stages 0–4) | Schedule of works
Feasibility studies
Company minutes and correspondence
Business plans
Specification of works
Design documents